Instructions for Sample Delivery to the ATRF Sequencing Facility:

Use FedEx same-day delivery for all sample deliveries, Monday through Thursday.

http://fedex.com/us/services/us/index.html

NCI-FCRF courier service – (301) 846-1175

Ensure all samples are shipped in dry ice and the individual (1.5-2 ml) tubes are labeled clearly. E-mail a list of sample names and any pertinent information such as volume and quality control measurements to Caroline Fromont caroline.fromont@nih.gov prior to shipping samples which is included in the sample manifest form.

Please include a copy of the sample manifest form along with your samples.

Ship samples to:

Caroline Fromont

Sequencing Facility

8560 Progress Drive,

Room D3040

Frederick, Maryland 21701

Alternatively, you are always welcome to drop off your samples between 9:00am and 4:00pm at the Sequencing Facility, where you can meet our staff and see our process first-hand.

If you have any questions or concerns, please call Caroline Fromont (301) 228 4799

Sample Quantity/Quality Requirements and Recommendations:

| Type of Library | Minimum DNA/RNA Quantity Requirement | Recommended DNA/RNA Quantity Requirement | Minimum Concentration Requirement | Quality Requirements |
| --- | --- | --- | --- | --- |
| WGS | 2 µg | 5 µg | n/a |  |
| Amplicons (< 5000 bp) | 100 ng | 300 ng | n/a | OD260/280 1.8-2.0 |
| Amplicons (> 5000 bp) | 200 ng | 400 ng | n/a | OD260/230 1.7-2.2 |
| HLA (Class I) | 250 ng | 1 µg | 20 ng/µl |  |
| WTS | 300 ng | 1 µg | 50 ng/µl | RIN ≥ 8.0 |

Recommended Characteristics of DNA Suitable for Single-Molecule Sequencing

- Must be double-stranded. Single-stranded DNA will not be made into a SMRTbell template in the template preparation process and can interfere with quantitation and polymerase binding.

- Has undergone a minimum of freeze-thaw cycles.

- Has not been exposed to high temps (> 65°C for more than one hour can cause a detectable decrease in sequence quality).

- Has not been exposed to pH extremes (< 6 or > 9).

- Does not contain insoluble material.

- Does not contain RNA.

- Has not been exposed to intercalating fluorescent dyes or ultraviolet radiation.

- Does not contain chelating agents (e.g. EDTA), divalent metal cations (e.g. Mg2+), denaturants (e.g. guanidium salts, phenol) or detergents (e.g. heme, humic acid, polyphenols).