## Slide 1: Sample QC workflow for Illumina Lab
DNA
Nanodrop
Bioanalyzer/Tapestation
Picogreen Assay
Qubit
Generate QC reports to send to PI
PassQC
Proceed with library construction
Total RNA
Bioanalyzer RNA assay
Generate QC reports to send to PI
PassQC
YES
YES
NO
NO
Ask for additional sample
Ask for replacement sample
Return samples to PI
Proceed with library construction

## Slide 2: Library QC workflow for Illumina lab
Library
Bioanalyzer DNA assay
Pass QC
Library Pooling
Pool qPCR
Sequencing QC run
Demultiplex, analyze the # reads/sample
Adjust the pool based on QC run results
Sequencing
Data analysis and delivery
Follow up with PI
NO
qPCR
Single libraries if they pass QC
Pool re-qPCR
YES

## Slide 3: Project workflow for Illumina lab
Library
Bioanalyzer DNA assay
Pass QC
Library Pooling
Pool qPCR
Sequencing QC run
Demultiplex, analyze the # reads/sample
Adjust the pool based on QC run results
Sequencing
Data analysis and delivery
YES
Follow up with PI
NO
qPCR
Single libraries if they pass QC
Pool re-qPCR
DNA/RNA
If they pass QC