Instructions for Sample Delivery to the ATRF Sequencing Facility:

You can use the courier service to ship your samples to us.

FNL Couriers no longer accepted pickup /delivery requests via the phone or email.  All FNL Courier pickups from Bethesda to Frederick, must be submitted through the Ship Wizard system.  All shipments that are transported on the highway (FNL Courier pickups) must be classified as a Hazardous or Non Hazardous shipment and the only way to have that done is to submit a Request for Shipment in the Ship Wizard system.

Ship Wizard Link:  https://ncifrederick.cancer.gov/Cad/ShippingWizard

This is a free service, but you need to enter your PID number when filling out the form. If you do not know your PID, you can check with your AO or this information will also be in your NAS request.

Or

Use FedEx same-day delivery for all sample deliveries, Monday through Thursday.

http://fedex.com/us/services/us/index.html

Ensure all samples are shipped in dry ice and the individual (1.5-2 ml) tubes are labeled clearly. E-mail a list of sample names and any pertinent information such as volume and quality control measurements to Jyoti Shetty shettyju@mail.nih.gov prior to shipping samples which is included in the sample manifest form.

Please include a copy of the sample manifest form along with your samples.

Ship samples to:

Jyoti Shetty

Sequencing Facility

8560 Progress Drive,

Room D3040

Frederick, Maryland 21701

If you have any questions or concerns, please call Jyoti Shetty (301)360-3454

Sample Quantity/Quality Requirements and Recommendations:

All samples are shipped in dry ice and the individual (1.5-2 ml) tubes are labeled clearly

| Type of Library | Minimum DNA/RNA Requirement for Library Construction | Recommended DNA/RNA for Optimal Library Construction | Maximum Sample Volume Requirement for Library Construction | Additional requirements |
| --- | --- | --- | --- | --- |
| ChIP DNA Sequencing | 5 ng | 10 ng | 30 μL | Bulk of the DNA fragments in the 100-300 bp range |
| gDNA Sequencing | 100 ng | 1 μg | 30 μL | DNA should be as intact as possible (DIN >7) with no contamination, OD260/280 1.8–2.0 |
| mRNA Sequencing | 25 ng | 1 μg | 50 μL | RIN should be at least 8.0, DNase treated |
| mRNA ultralow Clonetech | 100 pg | 10 ng | 10 μL | RIN should be at least 8.0, DNase treated |
| miRNA Sequencing | 100 ng | 1 μg | 6 μL |  |
| Total RNA sequencing | 10 ng | 1 μg | 10 μL | DNase treated, FFPE and degraded RNA can be used |

| Sample QC policy- - Samples have to be QC’d before sending them to us and must meet the minimum sample requirements. - If you send replacement samples to us the second time, they will need to be accompanied by the sample QC report from your lab. - There will be a $500 flat fee for re-QC of all samples resent to us for the third time. - CCR-SF will not accept samples and will cancel the order if the samples fail QC the third time. |  |  |
| --- | --- | --- |
| Samples that do not meet these requirements can be accepted but will be processed “on-risk” without guaranteed data output. |  |  |
| Sample return policy: Please indicate if you would like your samples and libraries sent back or discarded after sequencing completion. |  |  |