Instructions for Sample Delivery to the ATRF Sequencing Facility:

You can use the courier service at

NCI-FCRF courier service – (301) 846-1175

Or

Use FedEx same-day delivery for all sample deliveries, Monday through Thursday.

http://fedex.com/us/services/us/index.html

Ensure all samples are shipped in dry ice and the individual (1.5-2 ml) tubes are labeled clearly. E-mail a list of sample names and any pertinent information such as volume and quality control measurements to Jyoti Shetty shettyju@mail.nih.gov prior to shipping samples which is included in the sample manifest form.

Please include a copy of the sample manifest form along with your samples.

Ship samples to:

Jyoti Shetty

Sequencing Facility

8560 Progress Drive,

Room D3040

Frederick, Maryland 21701

Alternatively, you are always welcome to drop off your samples between 9:00am and 4:00pm at the Sequencing Facility, where you can meet our staff and see our process first-hand.

If you have any questions or concerns, please call Jyoti Shetty (301)360-3454

Sample Quantity/Quality Requirements and Recommendations:

All samples are shipped in dry ice and the individual (1.5-2 ml) tubes are labeled clearly

| Type of Library | Minimum DNA/RNA Requirement for Library Construction | Recommended DNA/RNA for Optimal Library Construction | Maximum Sample Volume Requirement for Library Construction | Additional requirements |
| --- | --- | --- | --- | --- |
| ChIP DNA Sequencing | 5 ng | 10 ng | 30 μL | Bulk of the DNA fragments in the 100-300 bp range |
| gDNA Sequencing | 100 ng | 1 μg | 30 μL | DNA should be as intact as possible with no contamination, OD260/280 1.8–2.0 |
| mRNA Sequencing | 100 ng | 1 μg | 50 μL | RIN should be at least 8.0, DNase treated |
| mRNA ultralow Clonetech | 100 pg | 10 ng | 10 μL | RIN should be at least 8.0, DNase treated |
| microRNA Sequencing | 100 ng | 1 μg | 6 μL |  |
| Total RNA sequencing | 100 ng | 1 μg | 10 μL | DNase treated, FFPE and degraded RNA can be used |
| Total RNA ultralow NEB | 10 ng | 1 μg | 10 μL | DNase treated, FFPE and degraded RNA can be used |